## Test Information
Analytical Validity, Clinical Validation Summary Worksheet, Molecular Risk Stratification (MRS-PF-020-v1)
Instructions: Complete as thoroughly as possible and add appropriate detail. If the question is not relevant to your test, write 'N/A' where applicable. Add rows and worksheets if necessary. List all samples (reference AND clinical) used in the validation on the AV & CV Summary tab.
NOTE: You must complete all summary worksheets in order for your technical assessment submission to be complete.
This attestation confirms that the test validation was performed in the CLIA laboratory associated with the registered Z-Code and that the information herein is accurate to the best of my knowledge. The laboratory and/or medical director has reviewed and approved the content of this submission.
CLIA Laboratory and/or Medical Director Name:
CLIA Laboratory and/or Medical Director Email:
Laboratory Name:
DEX Z-Code™ Identifier:
Test Name:
Relevant Policy:
| QUESTION | RESPONSE
General Test Information | Does this test demonstrate similar indicated uses or performance to any other commercially available test currently covered by Medicare? If yes, list the most similar test.
Is this test required to be ordered by a physician specialist in the management of a specified cancer?
Where will this test be performed and will this test be performed in multiple locations?
Is this test is recommended by current NCCN guidelines? If yes, please provide additional details.
Assay Methodology (List all that apply)
Is this test utilizing an FDA-approved or cleared kit? (Yes/No)
Regardless of FDA-approval status, provide the name(s) of the kit and vendor used
List the CPT code(s) that describe this test or suggest a crosswalk to an existing code, if none apply.
Is this test intended to be used in combination with at least one predictive algorithm or clinical risk calculator? If yes, list predictive algorithm or clinical risk calculator. Example: Prostate Cancer Prevention Trial (PCPT) or the European Randomized Screening for Prostate Cancer (EPSRC) risk calculator
Preanalytical Questions | List the specimen types tested.
Describe the orthogonal methods used for confirmation of the clinical validation.
Describe how targets (biomarkers/SNPs, etc.) were chosen.
Provide SNP allele frequencies.
Provide references of the relevant published protocols followed.
Analytical Questions | Is this a multi-analyte test or does the test incorporate other demographic, clinical, or laboratory variables as part of an algorithm? If yes, please describe.
Describe the library and variant quality criteria (include base quality scores) for reporting.
Describe cutoffs for background noise across the amplicon.
Describe mapping quality filters used to eliminate non-targeted regions and duplicate reads.
Describe depth of coverage thresholds. What is the required minimum # of on-target sequencing reads (passing quality metrics) per SNP position?
How are the controls utilized in this test?
How do you ensure specimen integrity and minimize contamination?
Describe the procedure when a specimen fails quality criteria and for exception handling. Is any other alternate methodology performed to confirm results?
Post-Analytical Questions | Who is responsible to review and sign-out these results? Provide the name and credentials for the individual(s).
How do you handle negative or QNS reports?
How do you handle amended and corrected reports?
What is the turnaround time for results?

## Intended Use
Analytical Validity, Clinical Validation Summary Worksheet, Molecular Risk Stratification (MRS-PF-020-v1)
Intended Use
Mark Yes or No in the column below to answer the following questions about intended use and intended-use populations.
Is the intended use of the test is one of the following (select all that apply):
Yes | No | Questions
Do the intended-use patients have an established diagnosis of cancer?
A non-invasive or minimally invasive test, the results of which are obtained to inform the decision to perform a biopsy or other invasive procedure.
A test performed to further refine risk when a biopsy or other invasive procedure has been performed but does not clearly indicate malignancy on histopathologic examination (post-biopsy). Such a test can potentially obviate the need for repeat biopsy.
Eligibility Criteria
Please provide ALL relevant eligibility criteria as listed in the policy that this test falls under. We recommend copy and pasting directly from the relevant policy. List all intended uses and include defined characteristics of the intended-use population, such as: patient age, biological gender, biopsy status (example: PSA/DRE/biopsy status), other clinical and/or demographic criteria for use. Add rows as necessary.
Intended Use |  |  | Eligibility Criteria

## AV & CV Summary
Analytical Validity, Clinical Validation Summary Worksheet, Molecular Risk Stratification (MRS-PF-020-v1)
Sample Types Tested in Clinical Validation
List the samples and reference materials used for the validation and number used of each.
Add rows to describe Other sample types, if necessary. For example, "Urine, post-DRE".
Sample Type | Number of Samples Tested
Tissue
Blood
Urine
Other
*Reference Material
Total clinical samples in validation
Total samples in validation
*Reference material are not considered "clinical" and do not contribute to the assessment of the clinical validation.
Analytical Validation1 Summary Table (Contrived samples)
Complete the table below with the analytical validation findings. Add as many rows as necessary.
Unique Samples | Concordant Positive Samples | Concordant Negative Samples | Sensitivity/PPA (95% CI) | Linear Regression Results for Method Comparison (95% CI)
1 Analytical Validation defines the performance characteristics of the test in ideal conditions.
Multi-Analyte Summary Table (If applicable)
Complete the table below for each analyte. Add as many rows as necessary.
| Analyte | Assay Methodology Used | Orthogonal Comparator Test Method
1
2
3
4
5
6
7
8
9
10
Clinical Validation1 Summary Table
Complete the table below with the clinical validation findings. Repeat this for every analyte in multi-analyte assay, if applicable. Add as many rows as necessary.
Unique Clinical Samples Tested | Concordant "Positive" Samples | Concordant "Negative" Samples | Sensitivity/PPA (95% CI) | Specificity/PPA (95% CI) | Linear Regression Results for Method Comparison (95% CI)
1 Clinical Validation defines the performance of the test in the patient population for which it is intended to be used.

## Test Performance
Analytical Validity, Clinical Validation Summary Worksheet, Molecular Risk Stratification (MRS-PF-020-v1)
Test Performance
Complete the table below to demonstrate assay performance. Add rows/columns as needed and write 'N/A' where not applicable. Be as specific as possible.
Please be explicit in defining the terms below (i.e. How is 'Excess biopsies avoided' defined?)
Note: You may choose to further substratify the data according to the Gleason score and other relevant parameters.
Initial Biopsy Setting | Cancer Type |  | Performance (Include prevalence for PPV/NPV) | [5 empty] | Limitations (i.e. certain groups of men, PSA levels, etc.)
|  |  | Sensitivity | Specificity | AUC | PPV | NPV | Excess Biopsies Avoided (%)
Detection of Cancer
Detection of High-Grade Cancer
Repeat Biopsy Setting | Cancer Type |  | Performance (Include prevalence for PPV/NPV) | [5 empty] | Limitations (i.e. certain groups of men, PSA levels, etc.)
|  |  | Sensitivity | Specificity | AUC | PPV | NPV | Excess Biopsies Avoided (%)
Detection of Cancer
Detection of High-Grade Cancer
Additional Test Performance Characteristics
Some data may require additional vetting, see the table below as a guide for how to display relevant information. Please provide a similar table that is relevant to your test.
Serum PSA | DRE and/or Other studies (i.e.. MRI) | Sensitivity | Specificity | AUC | PPV | NPV
PSA > 10 ng/mL | Normal
PSA > 10 ng/mL | Abnormal
PSA 4-10 ng/mL | Normal
PSA 4-10 ng/mL | Abnormal