## Test Information
Analytical Validity and Clinical Validation Summary Worksheet, Syndromic Infectious Disease Panels (MID-PF-019-v5)
Instructions: Complete as thoroughly as possible and add appropriate detail. Write 'N/A' where applicable. Add rows and worksheets if necessary.
NOTE: You must complete all relevant summary worksheets in order for your technical assessment submission to be complete.
This attestation confirms that the test validation was performed in the CLIA laboratory associated with the registered Z-Code and that the information herein is accurate to the best of my knowledge. The laboratory and/or medical director has reviewed and approved the content of this submission.
CLIA Laboratory and/or Medical Director Name:
CLIA Laboratory and/or Medical Director Email:
Laboratory Name:
DEX Z-Code™ Identifier:
Test Name:
| QUESTION |  | RESPONSE
| General Test Information | Clinical Indications for Testing
Intended Use Population
Adjunct Tests performed in parallel or in reflex to this test
Where will this test be performed and will this test be performed in multiple locations? If yes, and the test is NOT FDA-approved/cleared, reply to the technical assessment request email for assistance.
Specimen Types Tested (include any special handling required - i.e. specific swabs or transport material)
Assay Methodology (if multiple analytes are tested using multiple different methodologies, complete Multi-Analyte Table on 'AV/CV Summary' page)
Is this test utilizing an FDA-approved or cleared kit? (Yes/No)
Provide the name of the kit, manufacturer, and insturment/platform used for this assay, regardless of FDA-approved or cleared status
Provide detailed information on the instrument the assay is performed on and any probes/primers used, as applicable
Does this test include an algorithm (see GEN-CQ-003 for definition)?
| Accuracy | Number of unique patients tested
Number of unique samples tested (distinguish between clinical/patient vs contrived samples tested) Note: aliquots of a sample are not considered unique samples.
How were patient samples chosen (i.e. random vs selection)? Provide the selection criteria used. Were the clinical samples tested according to the entirety of the testing process (i.e., including DNA isolation/extraction)?
Provide details about the reference comparator/orthogonal method(s) used for validation. Are these all clinically validated tests? For all orthogonal referce methods, provide the following information: assay name, methodology, any kit name/manufacturer/platform, name of laboratory/source (if reference laboratory or biorepository was used)
Number of Pathogens and Targets Tested in the Validation - also list these individually on the following worksheet - AV and CV summary
Criteria used for both tests (reference test and current test) used to determine concordance. For example, if the reference test is culture, how are culture results determined?
Evaluation of discordant samples and resolution for the determination of 'truth'
| Analytical Sensitivity Include all metrics used and reported (i.e. viral load in cp/mL and log10, IU, Ct values), as applicable. | Lower Limit of Detection (LLOD)
Lower Limit of Quantitation (LLOQ)
Upper Limit of Detection (ULOD)
Upper Limit of Quantitation (ULOQ)
Reportable Range
| Analytical Specificity | Describe how specificity and cross-reactivity were assessed.
Describe the evaluation of interfering substances.
| Precision (Quantitative; Qualitative) | Coefficient of Variation (CV) - Include CV near relevant clinical decision points and detection/quantitation thresholds - Intra-run, Inter-run, Intra-lab, and Inter-lab (IF applicable)
| Minimum Input Quantity and Quality | Amount of specimen and DNA or RNA required (ng)
| Quality Control and Quality Management | How many (and what type) of controls are used in each run?
Describe the quality criteria used for reporting
Describe how cutoffs (i.e. Cycle Thresholds ('cts')) were established
Describe how you ensure specimen integrity and minimize contamination
Is any other alternate methodology performed to confirm results? If so, in what circumstances?
Describe the raw output of results and if any conversions are performed (i.e. viral load in cp/mL to log10 or IU)
Describe if and how multiple reactions or targets are used in combination to determine a given result (i.e. a positive 'FluA' result may be a composite of various targets, even if those are not provided in the final report)
Are raw data plots or graphs (i.e. amplification plots, sequencing chromatograms) reviewed with each run?
Who reviews and signs out these test results? Are generated results automated and released or is there a review and interpretation? Describe this process AND provide a comprehensive list of comments used, as applicable.
What is the Turnaround Time for results?
How do you handle QNS reports? Also, describe the procedures for when a specimen fails quality criteria and for exception handling.
How do you handle amended and corrected reports?
What are the primary limitations of this test and how are these made known to the clinician?
Additional Questions:
| NOTE: If the answer to any of the questions in this sections is 'Yes,' provide detailed summary and sample-level validation data for each applicable section | Is organism or target quantitation performed? If yes, explain (i.e. absolute vs relative quantitation; quantitation of organisms vs pathogens; is quantitation converted; is quantitation reported)
Is genotyping performed? If yes, explain purpose, methodology and reference method used to validate genotyping.
Is antimicrobial susceptibility testing (AST) performed? If yes, by what methodology? Reference method used to validate AST?
Are any other studies not mentioned above performed as part of this test? If yes, please explain.
CPT or PLA code
Please describe the CPT or PLA code(s) that describes this test, and/or suggest a crosswalk to an existing code if none apply

## AV & CV Summary
Analytical Validity and Clinical Validation Summary Worksheet, Syndromic Infectious Disease Panels (MID-PF-019-v5)
Instructions: Please complete the following tables and answer the following questions as appropriate. Indicate "N/A" when not applicable. Add rows and worksheets as necessary.
NOTE: Analytical and Clinical sample-level data are required as part of the submission of the entire validation, in addition to the AV & CV Summary
1 - List all specific Organisms AND Targets identified by this test. Distinguish whether an organism is identified vs specifically differentiated and to what level (i.e. genus/species/strain), as applicable).
Organisms and Targets | Identification/Differentiation | Threshold for determining pathogenicity and/or inclusion on report
2 - Analytical validation summary table (contrived samples)- repeat this for every analyte in multi-analyte assays, IF applicable
Unique Samples | Concordant Positive samples | Concordant Negative samples | Sensitivity/ PPA (95% CI) | Specificity/ NPA (95% CI) | Linear regression results for method comparison (95% CI)
Individual Organisms and Targets | Concordant Positive results | Concordant Negative results | Sensitivity/ PPA (95% CI) | Specificity/ NPA (95% CI) | Linear regression results for method comparison (95% CI)
3 - Samples used in clinical validation
List the samples (or controls) used for the validation and number used.
Sample types | Number of Samples
4 - Clinical validation summary table - repeat this for every analyte in multi-analyte assays, IF applicable
Unique Clinical Samples | Concordant Positive Samples | Concordant Negative Samples | Sensitivity/ PPA (95% CI) | Specificity/ NPA (95% CI) | Linear regression results for method comparison (95% CI)
Individual Organisms and Targets | Concordant Positive results | Concordant Negative results | Sensitivity/ PPA (95% CI) | Specificity/ NPA (95% CI) | Linear regression results for method comparison (95% CI)
5 - Multi-Analyte Table (If applicable).
NOTE: A complete validation is required for each analyte included as part of this test.
| Analyte | Assay Methodology used | Orthogonal Comparator Test Method
1
2
3
4
5
6
7
8
9
10
6 - Algorithm Validation Data
Provide detailed data on how the algorithm is generated, and how it was validated.

## AV & CV Sample-Level Data
Analytical Validity and Clinical Validation Summary Worksheet, Syndromic Infectious Disease Panels (MID-PF-019-v5)
Instructions: Complete the following tables. If submitter believes a particular element does not apply to their specific test, please indicate "N/A". Add rows and worksheets as necessary.
For EACH Clinical Sample, provide: Expected vs Observed Results, Concordance with reference method ('Yes' or 'No') and Discrepancy resolution of discordant cases
Analytical Validation
Number of Contrived Samples Tested:
| Sample # | Sample ID | Source | Expected Result(s) | Expected Result(s) Methodology | Observed Results | Observed Result(s) Methodology | Agree? | Discrepancy Analysis/Result
1
2
3
Clinical Validation
| Number of Patient Samples Tested: | [8 empty] | Wound panels only: please provide information in these columns
| Sample # | Sample ID | Specimen | Expected Result(s) | Expected Result(s) Methodology | Observed Results | Observed Result(s) Methodology | Agree? | Discrepancy Analysis/Result | Wound specimen type, i.e.-pus, superficial, deep tissue | Anatomical location
1
2
3

## Literature - CV & CU
Analytical Validity and Clinical Validation Summary Worksheet, Syndromic Infectious Disease Panels (MID-PF-019-v5)
Instructions: For each study, please provide the following information (or indicate “N/A” and explain why): Brief description of experimental design (e.g., number and type of samples, etc.) ; Final results including any associated statistical analyses ; Page/section number in dossier where detailed information can be found
| Validation Element | RESPONSE
Clinical Validity
Include the following: ●Indication(s) for use ●Intended use population(s) ●Summaries of the studies supporting the clinical validity of the test. Include elements of the study design, all primary and secondary endpoints, and any associated statistical analyses. Please limit to 2‐3 sentences per study. ●Inclusion and exclusion criteria from studies should be consistent with the indication(s) for use and intended use population(s)
Clinical Utility
Include the following: Summaries of the studies supporting the clinical utility of the test. Include, for example, elements of the study design, such as the sample size, all primary and secondary endpoints, and any associated statistical analyses. Please limit to 2‐3 sentences per study.

## Change Log
Date | Version | Note
2022-11-01 | 4 | Updated formatting and added kit information questions on Test Information tab
2022-11-01 | 4 | Updated formatting on AV & CV Summary tab
2022-11-01 | 4 | Removed Z-Code and Kit questions and reordered tables on AV & CV Summary tab
2022-11-01 | 4 | Updated formatting on AV & CV Sample-Level Data tab
2022-11-01 | 4 | Updated formatting on Literature - CV & CU tab
2023-11-01 | 5 | Updated information required on test and orthogonal method in Test Information tab.
2023-11-01 | 5 | Added column 'Observed Results Methodology' in AV & CV Sample-Level Data tab