## Test Information
Analytical Validity, Clinical Validation Summary Worksheet Allograft Rejection Tests (ALLO-PF-009-v2)
Instructions: Complete as thoroughly as possible and add appropriate detail. Write 'N/A' where applicable. Add rows and worksheets if necessary. List all samples (reference AND clinical) used in the validation on the AV & CV Summary tab.
NOTE: You must complete all summary worksheets in order for your technical assessment submission to be complete.
This attestation confirms that the test validation was performed in the CLIA laboratory associated with the registered Z-Code and that the information herein is accurate to the best of my knowledge. The laboratory and/or medical director has reviewed and approved the content of this submission.
CLIA Laboratory and/or Medical Director Name:
CLIA Laboratory and/or Medical Director Email:
Laboratory Name:
DEX Z-Code™ Identifier:
Test Name:
|  | QUESTION | RESPONSE
| General Test Information | Clinical Indications for Testing:
Expected Frequency of testing:
Is this test utilizing an FDA-approved or cleared kit? Please state the vendor and kit name:
Will this test be performed in multiple locations? If yes and the test is NOT FDA-approved, this form must be completed by each laboratory.
Specimen Types Tested:
Assay Methodology (if multiple analytes are tested, complete Multi-Analyte Table on 'AV/CV Summary' page):
| Accuracy (EP‐9A2) | Comparator method(s) used for validation:
Number of unique samples tested (also specify number of unique patient samples tested): Note: aliquots of a sample are not considered unique samples.
How were targeted SNPs chosen (include allele frequencies if using NGS methodology)? Provide references of the relevant published protocols followed.
Number of Genes/SNPs Validated (For SNP-based assays, describe how SNPs were chosen):
| Analytical Sensitivity (EP‐17A2) (list the DNA input used, if different from that in Row 22 ) | Lower Limit of Detection (LLOD) - unrelated donor:
Lower Limit of Detection (LLOD) - related donor:
Lower Limit of Quantitation (LLOQ) - unrelated donor:
Lower Limit of Quantitation (LLOQ) - related donor:
Upper Limit of Quantitation:
Reportable Range:
| Precision (EP‐05A2) (Quantitative) (EP‐12A2) (Qualitative) | Coefficient of Variation (CV) - Include CV near clinical decision points: Intra-run, Inter-run, Intra-lab, and Inter-lab (IF applicable):
| Minimum Input Quantity and Quality (MM‐09A2) | Amount of DNA required (ng):
| Quality Control | How many (and what type) of controls are used in each run? How do you ensure specimen integrity/ minimize contamination?
| For Tests performing NGS | Describe the library and variant quality criteria (include base quality scores) for reporting:
Describe cutoffs for background noise across the amplicon:
Describe mapping quality filters used to eliminate non-targeted regions and duplicate reads:
Describe depth of coverage thresholds. What is the required minimum # of on-target sequencing reads (passing quality metrics) per SNP position?
How many acceptable (passing quality metrics) recipient homozygous SNPs are required for transplants from an unrelated donor?
How many acceptable (passing quality metrics) recipient homozygous SNPs are required for transplants from a related donor?
How is dd-cfDNA fraction calculated? Provide references of the relevant published protocols followed.
| Additional Questions | Is separate genotyping of donor or recipient required?
Describe the procedure when a specimen fails quality criteria and for exception handling. Is any other alternate methodology performed to confirm results?
How do you handle negative or QNS reports?
How do you handle amended and corrected reports?
What is the Turnaround Time for results?
Who reviews and signs out these test results?
| CPT code | Please describe the CPT code(s) that describes this test, and/or suggest a crosswalk to an existing code if none apply:

## AV & CV Summary
Analytical Validity, Clinical Validation Summary Worksheet Allograft Rejection Tests (ALLO-PF-009-v2)
Instructions: Please complete the following tables and answer the following questions as appropriate. Indicate "N/A" when not applicable. Add rows as necessary.
1 - Analytical validation summary table (contrived samples)
| Unique Samples | Concordant Positive samples | Concordant Negative samples | Sensitivity/ PPA (95% CI)1 | Specificity/ NPA (95% CI)1 | Linear regression results for method comparison (95% CI)1
1 Use Jeffreys method
2 - Samples used in clinical validation
List the samples (or controls) used for the validation and number used.
| Sample types | Number of Samples
3 - Multi-Analyte Table (If applicable)
|  | Analyte | Assay Methodology used | Orthogonal Comparator Test Method
1
2
3
4
5
6
7
8
9
10
4 - Clinical validation summary table - repeat this for every analyte in multi-analyte assays, IF applicable
| Unique Clinical Samples tested | Concordant “Positive” (AR)2 Samples | Concordant “Negative” (no-AR) Samples | Sensitivity/ PPA (95% CI)1 | Specificity/ NPA (95% CI)1 | Linear regression results for method comparison (95% CI)1
1 Use Jeffreys method
2 AR = Acute Rejection

## Sample-Level Data
Analytical Validity, Clinical Validation Summary Worksheet Allograft Rejection Tests (ALLO-PF-009-v2)
CLINICAL Sample-Level Data (By Sample)
Instructions: Complete the table below with sample-level data. The information below is provided as an example - delete before entering your data. For items that are not applicable, enter 'N/A.' Add rows and columns as need.
NOTE: This table outlines the information required for each sample. If this information is clearly available in your existing validation documents, you may refer to those specific documents/page numbers in lieu of completing this table.
|  |  | EXPECTED RESULTS |  | OBSERVED RESULTS
| SAMPLE IDENTIFIER | SAMPLE TYPE | METHODOLOGY | FINDINGS | METHODOLOGY | RESULTS/VALUE | Results Agree ? Y/N | DISCORDANCE RESOLUTION | Comments
| 1 | Blood | Biopsy | Acute Rejection (this may be more granular like acute antibody-mediated rejection) | % dd cfDNA | 1.2%

## Overall AR
Analytical Validity, Clinical Validation Summary Worksheet Allograft Rejection Tests (ALLO-PF-009-v2)
OVERALL Performance Table (Include 95% Confidence Intervals; write 'N/A' where applicable)
| Assay Performance |  | 15% Prevalence | 25% Prevalence
| Acute Rejection (AR) - Overall | Sensitivity
Specificity
AUC
PPV
NPV
| Antibody-mediated rejection (AMR) | Sensitivity
Specificity
AUC
PPV
NPV
| Acute Cellular Rejection (ACR) | Sensitivity
Specificity
AUC
PPV
NPV
| Immune Suppression | Sensitivity
Specificity
AUC
PPV
NPV

## AR For-Cause Biopsies
Analytical Validity, Clinical Validation Summary Worksheet Allograft Rejection Tests (ALLO-PF-009-v2)
Performance Table of the test in FOR-CAUSE biopsies (Include 95% Confidence Intervals; write 'N/A' where applicable)
| Assay Performance |  | 15% Prevalence | 25% Prevalence
| Acute Rejection (AR) - Overall | Sensitivity
Specificity
AUC
PPV
NPV
| Antibody-mediated rejection (AMR) | Sensitivity
Specificity
AUC
PPV
NPV
| Acute Cellular Rejection (ACR) | Sensitivity
Specificity
AUC
PPV
NPV
| Immune Suppression | Sensitivity
Specificity
AUC
PPV
NPV

## AR-Protocol Biopsies
Analytical Validity, Clinical Validation Summary Worksheet Allograft Rejection Tests (ALLO-PF-009-v2)
Performance Table of the test in PROTOCOL biopsies (Include 95% Confidence Intervals; write 'N/A' where applicable)
| Assay Performance |  | 15% Prevalence | 25% Prevalence
| Acute Rejection (AR) - Overall | Sensitivity
Specificity
AUC
PPV
NPV
| Antibody-mediated rejection (AMR) | Sensitivity
Specificity
AUC
PPV
NPV
| Acute Cellular Rejection (ACR) | Sensitivity
Specificity
AUC
PPV
NPV
| Immune Suppression | Sensitivity
Specificity
AUC
PPV
NPV

## Change Log
Date | Version | Note
2022-11-02 | 2 | Updated formatting on Test Information tab
2022-11-02 | 2 | Updated formatting on AV & CV Summary tab
2022-11-02 | 2 | Added Sample-Level Data tab
2022-11-02 | 2 | Updated formatting on Overall AR tab
2022-11-02 | 2 | Updated formatting on AR For-Cause Biopsies tab