## Test Information
M00160 v1. Alllograft Rejection Tests - | Complete as thoroughly as possible. Write 'N/A' where applicable. Add rows if necessary.
Laboratory Responses:
General Test Information | Clinical Indications for Testing | A:
| Expected Frequency of testing | A:
| Will this test be performed in multiple locations? If yes and the test is NOT FDA-approved, this form must be completed by each laboratory. | A:
| Specimen Types Tested | A:
| Assay Methodology (if multiple analytes are tested, complete Multi-Analyte Table on 'AV/CV Summary' page) | A:
Accuracy (EP‐9A2) | Comparator method(s) used for validation | A:
| Number of unique samples tested (also specify number of unique patient samples tested). Note: aliquots of a sample are not considered unique samples. | A:
| How were targeted SNPs chosen (include allele frequecies if using NGS methodology)? Provide references of the relevant published protocols followed. | A:
| Number of Genes/SNPs Validated (For SNP-based assays, describe how SNPs were chosen) | A:
Analytical Sensitivity (EP‐17A2) (list the DNA input used, if different from that in Row 22 ) | Lower Limit of Detection (LLOD) - unrelated donor | A:
| Lower Limit of Detection (LLOD) - related donor | A:
| Lower Limit of Quantitation (LLOQ) - unrelated donor | A:
| Lower Limit of Quantitation (LLOQ) - related donor | A:
| Upper Limit of Quantitation | A:
| Reportable Range | A:
Precision (EP‐05A2) (Quantitative) (EP‐12A2) (Qualitative) | Coefficient of Variation (CV) - Include CV near clinical decision points: Intra-run, Inter-run, Intra-lab, and Inter-lab (IF applicable) | A:
Minimum Input Quantity and Quality (MM‐09A2) | Amount of DNA required (ng) | A:
Quality Control | How many (and what type) of controls are used in each run? How do you ensure specimen integrity/ minimize contamination? | A:
For Tests performing NGS :
| Describe the library and variant quality criteria (include base quality scores) for reporting. | A:
| Describe cutoffs for background noise across the amplicon. | A:
| Describe mapping quality filters used to eliminate non-targeted regions and duplicate reads. | A:
| Describe depth of coverage thresholds. What is the required minimum # of on-target sequencing reads (passing quality metrics) per SNP position? | A:
| How many acceptable (passing quality metrics) recipient homozygous SNPs are required for transplants from an unrelated donor? | A:
| How many acceptable (passing quality metrics) recipient homozygous SNPs are required for transplants from a related donor? | A:
| How is dd-cfDNA fraction calculated? Provide references of the relevant published protocols followed. | A:
Additional Questions:
| Is separate genotyping of donor or recipient required? | A:
| Describe the procedure when a specimen fails quality criteria and for exception handling. Is any other alternate methodology performed to confirm results? | A:
| How do you handle negative or QNS reports? | A:
| How do you handle amended and corrected reports? | A:
| What is the Turnaround Time for results? | A:
| Who reviews and signs out these test results? | A:
CPT code
| Please describe the CPT code(s) that describes this test, and/or suggest a crosswalk to an existing code if none apply | A:

## AV & CV Summary
Analytical Validity, Clinical Validation Summary Worksheet
Instructions: Please complete the following tables and answer the following questions as appropriate. Indicate "N/A" when not applicable. Add rows as necessary.
1 - Is this test utilizing an FDA-approved or cleared kit? Please state the vendor and kit name: |  |  |  |  | A:
2. Analytical validation summary table (contrived samples)
Unique Samples | Concordant Positive samples | Concordant Negative samples | Sensitivity/ PPA (95% CI)1 | Specificity/ NPA (95% CI)1 | Linear regression results for method comparison (95% CI)1
1 Use Jeffreys method
3 - Samples used in clinical validation
List the samples (or controls) used for the validation and number used.
Sample types | Number of Samples
4- Multi-Analyte Table (If applicable)
| Analyte | Assay Methodology used | Orthogonal Comparator Test Method
1
2
3
4
5
6
7
8
9
10
5 - Clinical validation summary table - repeat this for every analyte in multi-analyte assays, IF applicable
Unique Clinical Samples tested | Concordant “Positive” (AR)2 Samples | Concordant “Negative” (no-AR) Samples | Sensitivity/ PPA (95% CI)1 | Specificity/ NPA (95% CI)1 | Linear regression results for method comparison (95% CI)1
1 Use Jeffreys method
2 AR = Acute Rejection

## Overall AR
Alllograft Rejection Tests - | Overall Performance Table (Include 95% Confidence Intervals; write 'N/A' where applicable)
Assay Performance |  | 15% Prevalence | 25% Prevalence
Acute Rejection (AR) - Overall | Sensitivity
Specificity
AUC
PPV
NPV
Antibody-mediated rejection (AMR) | Sensitivity
Specificity
AUC
PPV
NPV
Acute Cellular Rejection (ACR) | Sensitivity
Specificity
AUC
PPV
NPV
Immune Suppression | Sensitivity
Specificity
AUC
PPV
NPV

## AR - For-cause biopsies
Alllograft Rejection Tests - | Performance Table of the test in FOR-CAUSE biopsies (Include 95% Confidence Intervals; write 'N/A' where applicable)
Assay Performance |  | 15% Prevalence | 25% Prevalence
Acute Rejection (AR) - Overall | Sensitivity
Specificity
AUC
PPV
NPV
Antibody-mediated rejection (AMR) | Sensitivity
Specificity
AUC
PPV
NPV
Acute Cellular Rejection (ACR) | Sensitivity
Specificity
AUC
PPV
NPV
Immune Suppression | Sensitivity
Specificity
AUC
PPV
NPV

## AR - Protocol biopsies
Alllograft Rejection Tests - | Performance Table of the test in PROTOCOL biopsies (Include 95% Confidence Intervals; write 'N/A' where applicable)
Assay Performance |  | 15% Prevalence | 25% Prevalence
Acute Rejection (AR) - Overall | Sensitivity
Specificity
AUC
PPV
NPV
Antibody-mediated rejection (AMR) | Sensitivity
Specificity
AUC
PPV
NPV
Acute Cellular Rejection (ACR) | Sensitivity
Specificity
AUC
PPV
NPV
Immune Suppression | Sensitivity
Specificity
AUC
PPV
NPV